|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | **Имя переменной** | **Тип в ПЛК** | **регистр** | **примечания** |
| **Главный экран** | | | | |
| **Запись в панель из ПЛК** | | | | |
|  | PAN\_TT0101realValue | REAL | PSW256 |  |
|  | PAN\_PH0101realValue | REAL | PSW258 |  |
|  | PAN\_FIT0101realValue | REAL | PSW260 |  |
|  |  |  |  |  |
|  | PAN\_TT0601realValue | REAL | PSW262 |  |
|  | PAN\_PH0601realValue | REAL | PSW264 |  |
|  | PAN\_FIT0601realValue | REAL | PSW266 |  |
|  |  |  |  |  |
|  | PAN\_PT0101realValue | REAL | PSW268 |  |
|  | PAN\_PT0102realValue | REAL | PSW270 |  |
|  | PAN\_PT0103realValue | REAL | PSW272 |  |
|  | PAN\_PT0104realValue | REAL | PSW274 |  |
|  | PAN\_PT0105realValue | REAL | PSW276 |  |
|  |  |  |  |  |
|  | PAN\_FIT0102realValue | REAL | PSW278 |  |
|  |  |  |  |  |
|  | PAN\_PT060101realValue | REAL | PSW280 |  |
|  | PAN\_PT060102realValue | REAL | PSW282 |  |
|  |  |  |  |  |
|  | PAN\_LT0101realValue | REAL | PSW284 | V01.01 |
|  |  |  |  |  |
|  | PAN\_LT0601realValue | REAL | PSW286 | V06.01 |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_pumpStartStatusWord | WORD | PSW288 | 0 – пуск Р01.02/01 |
|  |  |  |  | 1 – пуск Р01.02/02 |
|  |  |  |  | 2 – пуск Р01.03/01 |
|  |  |  |  | 3 – пуск Р01.03/02 |
|  |  |  |  | 4 – пуск Р01.03/03 |
|  |  |  |  | 5 – пуск Р01.07/01 |
|  |  |  |  | 6 – пуск Р01.07/02 |
|  |  |  |  | 7 – пуск Р01.08/01 |
|  |  |  |  | 8 – пуск Р01.08/02 |
|  |  |  |  | 9 – пуск Р06.02/01 |
|  |  |  |  | 10 – пуск Р06.02/02 |
|  |  |  |  | 11 – пуск Р06.03/01 |
|  |  |  |  | 12 – пуск Р06.03/02 |
|  |  |  |  | 13 – пуск Р08.01/01 |
|  |  |  |  | 14 – пуск Р08.01/02 |
|  |  |  |  |  |
|  | PAN\_boolStatusMainViewWord\_1 | WORD | PSW289 | 0 – клапан 1 |
|  |  |  |  | 1 – клапан 2 |
|  |  |  |  | 2 – клапан 3 |
|  |  |  |  | 3 – клапан 4 |
|  |  |  |  | 4 – верх.уров.V0105 |
|  |  |  |  | 5 – средн.уров.V0105 |
|  |  |  |  | 6 – нижн.уров.V0105 |
|  |  |  |  | 7 – верх.уров.V0109 |
|  |  |  |  | 8 – верх.уров.V0110 |
|  |  |  |  | 9 – нижн.уров.V0110 |
|  |  |  |  | 10 – уровень V07.01 |
|  |  |  |  | 11 – верх.уров.V0801 |
|  |  |  |  | 12 – нижн.уров.V0801 |
|  |  |  |  | 13 – вкл UV06.05/01 |
|  |  |  |  | 14 – вкл UV06.05/02 |
|  |  |  |  |  |
|  | PAN\_boolStatusMainViewWord\_2 | WORD | PSW290 | 0 – фильтр 1 в промывке |
|  |  |  |  | 1 – фильтр 2 в промывке |
|  |  |  |  | 2 – фильтр 3 в промывке |
|  |  |  |  | 3 – общая авария (для показа иконки авария в панели) |
|  |  |  |  |  |
|  | PAN\_P0102statWord | WORD | PSW291 | 0 = 1 - main |
|  |  |  |  | 1 = 2 - main |
|  |  |  |  | 2 = by counter |
|  |  |  |  | 3 = by work time |
|  |  |  |  |  |
|  | PAN\_counterP010201 | DWORD | PSW292 |  |
|  | PAN\_counterP010202 | DWORD | PSW294 |  |
|  |  |  |  |  |
|  | PAN\_daysP010201 | WORD | PSW296 |  |
|  | PAN\_hoursP010201 | WORD | PSW297 |  |
|  | PAN\_minutesP010201 | WORD | PSW298 |  |
|  | PAN\_secondsP010201 | WORD | PSW299 |  |
|  | PAN\_nextStartP010201timer | WORD | PSW300 |  |
|  |  |  |  |  |
|  | PAN\_daysP010202 | WORD | PSW301 |  |
|  | PAN\_hoursP010202 | WORD | PSW302 |  |
|  | PAN\_minutesP010202 | WORD | PSW303 |  |
|  | PAN\_secondsP010202 | WORD | PSW304 |  |
|  | PAN\_nextStartP010202timer | WORD | PSW305 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_counterP010301 | DWORD | PSW306 |  |
|  | PAN\_counterP010302 | DWORD | PSW308 |  |
|  | PAN\_counterP010303 | DWORD | PSW310 |  |
|  |  |  |  |  |
|  | PAN\_daysP010301 | WORD | PSW312 |  |
|  | PAN\_hoursP010301 | WORD | PSW313 |  |
|  | PAN\_minutesP010301 | WORD | PSW314 |  |
|  | PAN\_secondsP010301 | WORD | PSW315 |  |
|  | PAN\_nextStartP010301timer | WORD | PSW316 |  |
|  |  |  |  |  |
|  | PAN\_daysP010302 | WORD | PSW317 |  |
|  | PAN\_hoursP010302 | WORD | PSW318 |  |
|  | PAN\_minutesP010302 | WORD | PSW319 |  |
|  | PAN\_secondsP010302 | WORD | PSW320 |  |
|  | PAN\_nextStartP010302timer | WORD | PSW321 |  |
|  |  |  |  |  |
|  | PAN\_daysP010303 | WORD | PSW322 |  |
|  | PAN\_hoursP010303 | WORD | PSW323 |  |
|  | PAN\_minutesP010303 | WORD | PSW324 |  |
|  | PAN\_secondsP010303 | WORD | PSW325 |  |
|  | PAN\_nextStartP010303timer | WORD | PSW326 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_statWordP0103 | WORD | PSW327 | 0 = 1 main |
|  |  |  |  | 1 = 2 main |
|  |  |  |  | 2 = 3 main |
|  |  |  |  | 3 = by counter |
|  |  |  |  | 4 = by work time |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_counterP010701 | DWORD | PSW328 |  |
|  | PAN\_counterP010702 | DWORD | PSW330 |  |
|  |  |  |  |  |
|  | PAN\_daysP010701 | WORD | PSW332 |  |
|  | PAN\_hoursP010701 | WORD | PSW333 |  |
|  | PAN\_minutesP010701 | WORD | PSW334 |  |
|  | PAN\_secondsP010701 | WORD | PSW335 |  |
|  | PAN\_nextStartP010701timer | WORD | PSW336 |  |
|  |  |  |  |  |
|  | PAN\_daysP010702 | WORD | PSW337 |  |
|  | PAN\_hoursP010702 | WORD | PSW338 |  |
|  | PAN\_minutesP010702 | WORD | PSW339 |  |
|  | PAN\_secondsP010702 | WORD | PSW340 |  |
|  | PAN\_nextStartP010702timer | WORD | PSW341 |  |
|  |  |  |  |  |
|  | PAN\_P0107statWord | WORD | PSW342 | 0 = 1 - main |
|  |  |  |  | 1 = 2 - main |
|  |  |  |  | 2 = by counter |
|  |  |  |  | 3 = by work time |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_P0108statWord | WORD | PSW343 | 0 = 1 - main |
|  |  |  |  | 1 = 2 - main |
|  |  |  |  | 2 = by counter |
|  |  |  |  | 3 = by work time |
|  |  |  |  |  |
|  | PAN\_counterP010801 | DWORD | PSW344 |  |
|  | PAN\_counterP010802 | DWORD | PSW346 |  |
|  |  |  |  |  |
|  | PAN\_daysP010801 | WORD | PSW348 |  |
|  | PAN\_hoursP010801 | WORD | PSW349 |  |
|  | PAN\_minutesP010801 | WORD | PSW350 |  |
|  | PAN\_secondsP010801 | WORD | PSW351 |  |
|  | PAN\_nextStartP010801timer | WORD | PSW352 |  |
|  |  |  |  |  |
|  | PAN\_daysP010802 | WORD | PSW353 |  |
|  | PAN\_hoursP010802 | WORD | PSW354 |  |
|  | PAN\_minutesP010802 | WORD | PSW355 |  |
|  | PAN\_secondsP010802 | WORD | PSW356 |  |
|  | PAN\_nextStartP010802timer | WORD | PSW357 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_counterP060201 | DWORD | PSW358 |  |
|  | PAN\_counterP060202 | DWORD | PSW360 |  |
|  |  |  |  |  |
|  | PAN\_daysP060201 | WORD | PSW362 |  |
|  | PAN\_hoursP060201 | WORD | PSW363 |  |
|  | PAN\_minutesP060201 | WORD | PSW364 |  |
|  | PAN\_secondsP060201 | WORD | PSW365 |  |
|  | PAN\_nextStartP060201timer | WORD | PSW366 |  |
|  |  |  |  |  |
|  | PAN\_daysP060202 | WORD | PSW367 |  |
|  | PAN\_hoursP060202 | WORD | PSW368 |  |
|  | PAN\_minutesP060202 | WORD | PSW369 |  |
|  | PAN\_secondsP060202 | WORD | PSW370 |  |
|  | PAN\_nextStartP060202timer | WORD | PSW371 |  |
|  |  |  |  |  |
|  | PAN\_P0602statWord | WORD | PSW372 | 0 = 1 - main |
|  |  |  |  | 1 = 2 - main |
|  |  |  |  | 2 = by counter |
|  |  |  |  | 3 = by work time |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_P0603statWord | WORD | PSW373 | 0 = 1 - main |
|  |  |  |  | 1 = 2 - main |
|  |  |  |  | 2 = by counter |
|  |  |  |  | 3 = by work time |
|  |  |  |  |  |
|  | PAN\_counterP060301 | DWORD | PSW374 |  |
|  | PAN\_counterP060302 | DWORD | PSW376 |  |
|  |  |  |  |  |
|  | PAN\_daysP060301 | WORD | PSW378 |  |
|  | PAN\_hoursP060301 | WORD | PSW379 |  |
|  | PAN\_minutesP060301 | WORD | PSW380 |  |
|  | PAN\_secondsP060301 | WORD | PSW381 |  |
|  | PAN\_nextStartP060301timer | WORD | PSW382 |  |
|  |  |  |  |  |
|  | PAN\_daysP060302 | WORD | PSW383 |  |
|  | PAN\_hoursP060302 | WORD | PSW384 |  |
|  | PAN\_minutesP060302 | WORD | PSW385 |  |
|  | PAN\_secondsP060302 | WORD | PSW386 |  |
|  | PAN\_nextStartP060302timer | WORD | PSW387 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_counterP080101 | DWORD | PSW388 |  |
|  | PAN\_counterP080102 | DWORD | PSW390 |  |
|  |  |  |  |  |
|  | PAN\_daysP080101 | WORD | PSW392 |  |
|  | PAN\_hoursP080101 | WORD | PSW393 |  |
|  | PAN\_minutesP080101 | WORD | PSW394 |  |
|  | PAN\_secondsP080101 | WORD | PSW395 |  |
|  | PAN\_nextStartP080101timer | WORD | PSW396 |  |
|  |  |  |  |  |
|  | PAN\_daysP080102 | WORD | PSW397 |  |
|  | PAN\_hoursP080102 | WORD | PSW398 |  |
|  | PAN\_minutesP080102 | WORD | PSW399 |  |
|  | PAN\_secondsP080102 | WORD | PSW400 |  |
|  | PAN\_nextStartP080102timer | WORD | PSW401 |  |
|  |  |  |  |  |
|  | PAN\_P0801statWord | WORD | PSW402 | 0 = 1 - main |
|  |  |  |  | 1 = 2 - main |
|  |  |  |  | 2 = by counter |
|  |  |  |  | 3 = by work time |
|  |  |  |  |  |
|  |  |  | PSW403 | reserve |
|  |  |  |  |  |
|  | PAN\_toStartP0107 | UINT | PSW404 | Доп.защита от частых пусков |
|  |  |  |  |  |
|  | PAN\_statWordUFO | WORD | PSW405 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_counterUFO1 | DWORD | PSW406 |  |
|  | PAN\_counterUFO2 | DWORD | PSW408 |  |
|  |  |  |  |  |
|  | PAN\_daysUFO1 | WORD | PSW410 |  |
|  | PAN\_hoursUFO1 | WORD | PSW411 |  |
|  | PAN\_minutesUFO1 | WORD | PSW412 |  |
|  | PAN\_secondsUFO1 | WORD | PSW413 |  |
|  | PAN\_nextStartUFO1timer | WORD | PSW414 |  |
|  |  |  |  |  |
|  | PAN\_daysUFO2 | WORD | PSW415 |  |
|  | PAN\_hoursUFO2 | WORD | PSW416 |  |
|  | PAN\_minutesUFO2 | WORD | PSW417 |  |
|  | PAN\_secondsUFO2 | WORD | PSW418 |  |
|  | PAN\_nextStartUFO2timer | WORD | PSW419 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_alarmList\_0 | WORD | PSW420 | 0 = авария по низкому давлению Р01.02/01 |
|  |  |  |  | 1 = авария по низкому давлению Р01.02/02 |
|  |  |  |  | 2 = авария Р01.02/01 |
|  |  |  |  | 3 = авария Р01.02/02 |
|  |  |  |  | 4 = перелив ёмкости V01.05 |
|  |  |  |  | 5 = авария насоса Р01.03/01 |
|  |  |  |  | 6 = авария насоса Р01.03/02 |
|  |  |  |  | 7 = авария насоса Р01.03/03 |
|  |  |  |  | 8 = авария фильтра F01.04/01 |
|  |  |  |  | 9 = авария фильтра F01.04/02 |
|  |  |  |  | 10 = авария фильтра F01.04/03 |
|  |  |  |  | 11 = авария Р01.07/01 |
|  |  |  |  | 12 = авария Р01.07/02 |
|  |  |  |  | 13 = авария Р01.08/01 |
|  |  |  |  | 14 = авария Р01.08/02 |
|  |  |  |  | 15 = Перелив V01.07/01 |
|  |  |  |  |  |
|  | PAN\_alarmList\_1 | WORD | PSW421 | 0 = авария Р08.01/01 |
|  |  |  |  | 1 = авария Р08.01/02 |
|  |  |  |  | 2 = авария LT060101 |
|  |  |  |  | 3 = авария PT060101 |
|  |  |  |  | 4 = авария PT060102 |
|  |  |  |  | 5 = авария TT0102 |
|  |  |  |  | 6 = авария TT0601 |
|  |  |  |  | 7 = авария PH0601 |
|  |  |  |  | 8 = авария FIT0601 |
|  |  |  |  | 9 = авария TT0101 |
|  |  |  |  | 10 = авария PT0101 |
|  |  |  |  | 11 = авария PT0102 |
|  |  |  |  | 12 = авария PT0103 |
|  |  |  |  | 13 = авария LT0101 |
|  |  |  |  | 14 = авария FIT0101 |
|  |  |  |  | 15 = авария FIT0102 |
|  |  |  |  |  |
|  | PAN\_alarmList\_2 | WORD | PSW422 | 0 = авария PH0101 |
|  |  |  |  | 1 = авария PT0104 |
|  |  |  |  | 2 = авария PT0105 |
|  |  |  |  | 3 = авария насоса Р06.02/01 |
|  |  |  |  | 4 = авария насоса Р06.02/02 |
|  |  |  |  | 5 = авария УФО1 |
|  |  |  |  | 6 = авария УФО2 |
|  |  |  |  | 7 = авария доз.насоса Р06.03/01 |
|  |  |  |  | 8 = авария доз.насоса Р06.03/02 |
|  |  |  |  | 9 = резерв |
|  |  |  |  | 10 = резерв |
|  |  |  |  | 11 = резерв |
|  |  |  |  | 12 = резерв |
|  |  |  |  | 13 = резерв |
|  |  |  |  | 14 = резерв |
|  |  |  |  | 15 = резерв |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
| **Запись в ПЛК из панели (читать)** | | | | |
|  | PAN\_maxHeight\_V0101 | REAL | PFW256 |  |
|  | PAN\_minHeight\_V0101 | REAL | PFW258 |  |
|  | PAN\_maxHeight\_V0601 | REAL | PFW260 |  |
|  | PAN\_middleHeight\_V0601 | REAL | PFW262 |  |
|  | PAN\_minHeight\_V0601 | REAL | PFW264 |  |
|  |  |  |  |  |
|  | PAN\_PT0101maxValue | REAL | PFW266 |  |
|  | PAN\_PT0102maxValue | REAL | PFW268 |  |
|  | PAN\_PT0103maxValue | REAL | PFW270 |  |
|  | PAN\_PT0104maxValue | REAL | PFW272 |  |
|  | PAN\_PT0105maxValue | REAL | PFW274 |  |
|  | PAN\_PT060101maxValue | REAL | PFW276 |  |
|  | PAN\_PT060102maxValue | REAL | PFW278 |  |
|  | PAN\_LT0101maxValue | REAL | PFW280 |  |
|  | PAN\_LT0601maxValue | REAL | PFW282 |  |
|  |  |  |  |  |
|  | PAN\_FIT0101maxValue | REAL | PFW284 |  |
|  | PAN\_FIT0102maxValue | REAL | PFW286 |  |
|  | PAN\_FIT0601maxValue | REAL | PFW288 |  |
|  | PAN\_PH0101maxValue | REAL | PFW290 |  |
|  | PAN\_PH0601maxValue | REAL | PFW292 |  |
|  | PAN\_TT0101maxValue | REAL | PFW294 |  |
|  | PAN\_TT0102maxValue | REAL | PFW296 |  |
|  | PAN\_TT0601maxValue | REAL | PFW298 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_PT0102setValue | REAL | PFW300 |  |
|  | PAN\_PT0102set\_KP | REAL | PFW302 |  |
|  | PAN\_PT0102set\_TN | REAL | PFW304 |  |
|  | PAN\_PT0102set\_TV | REAL | PFW306 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_PT0103setValue | REAL | PFW308 |  |
|  | PAN\_PT0103set\_KP | REAL | PFW310 |  |
|  | PAN\_PT0103set\_TN | REAL | PFW312 |  |
|  | PAN\_PT0103set\_TV | REAL | PFW314 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_PT0601setValue | REAL | PFW316 |  |
|  | PAN\_PT0601set\_KP | REAL | PFW318 |  |
|  | PAN\_PT0601set\_TN | REAL | PFW320 |  |
|  | PAN\_PT0601set\_TV | REAL | PFW322 |  |
|  | PAN\_PT0601startValue | REAL | PFW324 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_setPT0603Value | REAL | PFW326 |  |
|  |  |  |  |  |
|  | PAN\_PT0105setValue | REAL | PFW328 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_PT0101setValue | REAL | PFW330 |  |
|  | PAN\_PT0101set\_KP | REAL | PFW332 |  |
|  | PAN\_PT0101set\_TN | REAL | PFW334 |  |
|  | PAN\_PT0101set\_TV | REAL | PFW336 |  |
|  | PAN\_PT0101startValue | REAL | PFW338 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_TIME\_TO\_STOP\_P0102 | UINT | PFW340 | Уставка задержки на отключение компрессоров при отсутствии потока если выключены насосы Р0103, сек. |
|  | PAN\_DELAY\_REPEATED\_START\_SEC | UINT | PFW341 | Задержка повторного пуска |
|  | PAN\_DELAY\_TO\_START\_2\_AFTER\_1 | UINT | PFW342 | Задержка запуска второго агрегата после пуска первого. |
|  | PAN\_DELAY\_TO\_CHECK\_ON\_START | UINT | PFW343 | Время задержки контроля параметров после старта. |
|  | PAN\_P0107\_AFTER\_STOP\_DELAY | UINT | PFW344 | Удержание сигнала стоп после его появления, доп. страховка от частых пусков. |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  | PFW345 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_setWordP0102 | WORD | PSW700 | 0 = P01.02/01 main |
|  |  |  |  | 1 = P01.02/02 main |
|  |  |  |  | 2 = by counter |
|  |  |  |  | 3 = by word time |
|  |  |  |  | 4 = reset 1 counter |
|  |  |  |  | 5 = reset 2 counter |
|  |  |  |  | 6 = reset 1 work time |
|  |  |  |  | 7 = reset 2 work time |
|  |  |  |  | 8 = startPump1man(test) |
|  |  |  |  | 9 = startPump2man(test) |
|  |  |  |  |  |
|  | PAN\_setWordP0103 | WORD | PSW701 | 0 = P01.03/01 main |
|  |  |  |  | 1 = P01.03/02 main |
|  |  |  |  | 2 = P01.03/03 main |
|  |  |  |  | 3 = by counter |
|  |  |  |  | 4 = by work time |
|  |  |  |  | 5 = startPump1man |
|  |  |  |  | 6 = startPump2man |
|  |  |  |  | 7 = startPump3man |
|  |  |  |  | 8 = reset 1 work time |
|  |  |  |  | 9 = reset 2 work time |
|  |  |  |  | 10 = reset 3 work time |
|  |  |  |  | 11 = reset 1 counter |
|  |  |  |  | 12 = reset 2 counter |
|  |  |  |  | 13 = reset 3 counter |
|  |  |  |  |  |
|  | PAN\_setWordP0107 | WORD | PSW702 | 0 = 1-main |
|  |  |  |  | 1 = 2-main |
|  |  |  |  | 2 = by counter |
|  |  |  |  | 3 = by work time |
|  |  |  |  | 4 = reset counter 1 |
|  |  |  |  | 5 = reset counter 2 |
|  |  |  |  | 6 = reset work time 1 |
|  |  |  |  | 7 = reset work time 2 |
|  |  |  |  | 8 = start 1 man |
|  |  |  |  | 9 = start 2 man |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_setWordP0108 | WORD | PSW703 | 0 = 1-main |
|  |  |  |  | 1 = 2-main |
|  |  |  |  | 2 = by counter |
|  |  |  |  | 3 = by work time |
|  |  |  |  | 4 = reset counter 1 |
|  |  |  |  | 5 = reset counter 2 |
|  |  |  |  | 6 = reset work time 1 |
|  |  |  |  | 7 = reset work time 2 |
|  |  |  |  | 8 = start 1 man |
|  |  |  |  | 9 = start 2 man |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_setWordP0602 | WORD | PSW704 | 0 = 1-main |
|  |  |  |  | 1 = 2-main |
|  |  |  |  | 2 = by counter |
|  |  |  |  | 3 = by work time |
|  |  |  |  | 4 = reset counter 1 |
|  |  |  |  | 5 = reset counter 2 |
|  |  |  |  | 6 = reset work time 1 |
|  |  |  |  | 7 = reset work time 2 |
|  |  |  |  | 8 = start 1 man |
|  |  |  |  | 9 = start 2 man |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_setWordP0603 | WORD | PSW705 | 0 = 1-main |
|  |  |  |  | 1 = 2-main |
|  |  |  |  | 2 = by counter |
|  |  |  |  | 3 = by work time |
|  |  |  |  | 4 = reset counter 1 |
|  |  |  |  | 5 = reset counter 2 |
|  |  |  |  | 6 = reset work time 1 |
|  |  |  |  | 7 = reset work time 2 |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_setWordP0801 | WORD | PSW706 | 0 = 1-main |
|  |  |  |  | 1 = 2-main |
|  |  |  |  | 2 = by counter |
|  |  |  |  | 3 = by work time |
|  |  |  |  | 4 = reset counter 1 |
|  |  |  |  | 5 = reset counter 2 |
|  |  |  |  | 6 = reset work time 1 |
|  |  |  |  | 7 = reset work time 2 |
|  |  |  |  | 8 = start 1 man |
|  |  |  |  | 9 = start 2 man |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_setWordUFO | WORD | PSW707 | 0 = 1-main |
|  |  |  |  | 1 = 2-main |
|  |  |  |  | 2 = by counter |
|  |  |  |  | 3 = by work time |
|  |  |  |  | 4 = reset counter 1 |
|  |  |  |  | 5 = reset counter 2 |
|  |  |  |  | 6 = reset work time 1 |
|  |  |  |  | 7 = reset work time 2 |
|  |  |  |  |  |
|  |  |  |  |  |
|  | PAN\_mainComWord | WORD | PSW708 | 0 = resetAlarms |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  | PSW709 |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | | | | |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | | | | |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |